ADVICE ON HOW TO MANAGE A SUSPECTED GAS LEAK

1.  	REPORT OF SMELL OF GAS IN A BUILDING:

- SENIOR PERSON/BUILDING MANAGER TO BE ADVISED IMMEDIATELY.

- THE SENIOR PERSON/BUILDING MANAGER SHOULD KNOW:

- IF GAS SERVICES ARE IN THE BUILDING;

- WHERE APPLIANCES ARE LOCATED;

- HOW TO SHUT OFF THE SUPPLY AT THE GAS AT THE METER / ISOLATION VALVE.

- IF IT IS NOT POSSIBLE TO SHUT THE SUPPLY OFF OR THERE IS STILL A STRONG SMELL OF GAS IN THE BUILDING AFTER ISOLATION THEN THE EVACUATION PLAN FOR THE BUILDING SHOULD BE IMPLEMENTED.

2.	TO MAKE AREA SAFE PENDING INVESTIGATION BY SGN:

- TURN OFF GAS SUPPLY AT THE METER (unless it is in a cellar);

- DO NOT SMOKE OR LIGHT A  NAKED FLAME, (cigarette, lighter etc);

- OPEN ALL WINDOWS.

- PHONE NATIONAL GAS EMERGENCY  0800 111 999

- PHONE PROPERTY REPAIRS SERVICE ON 01324 503040 (24 HOUR NO.)

- LOG THESE CALLS

3.   IF EVACUATION PROCEDURE IS IMPLEMENTED:

- DO NOT USE THE FIRE ALARM TO EVACUATE THE BUILDING

- DO NOT TOUCH ANY ELECTRICAL SWITCHES

- ENSURE THERE ARE NO NAKED FLAMES IN USE

- SWITCH OFF MOBILE PHONES & DO NOT SWITCH ON AGAIN UNTIL YOU ARE CLEAR OF THE BUILDING & IMMEDIATE AREA

- DO NOT RETURN TO THE BUILDING UNTIL GIVEN THE ALL CLEAR BY SGN.